{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["3.1 E.1 分部分项工程量清单计价表"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"3.1 E.1 分部分项工程量清单计价表","index":0,"n_rows":935,"n_cols":8,"rows_kept":935,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[5,2,5,4],[5,5,5,6],[6,0,8,0],[9,0,11,0],[12,0,14,0],[15,0,17,0],[18,0,18,7],[20,3,20,7],[21,0,21,7],[22,0,22,5],[22,6,22,7],[23,0,25,0],[26,0,28,0],[29,0,30,0],[31,0,33,0],[34,2,34,3],[34,5,34,6],[35,2,35,3],[35,5,35,6],[36,2,36,3],[36,5,36,6],[37,2,37,3],[37,5,37,6],[38,2,38,3],[38,5,38,6],[39,2,39,3],[39,5,39,6],[40,0,40,7],[42,3,42,7],[43,0,43,7],[44,0,44,5],[44,6,44,7],[45,0,47,0],[48,2,48,3],[48,5,48,6],[49,2,49,3],[49,5,49,6],[50,2,50,3],[50,5,50,6],[51,2,51,3],[51,5,51,6],[52,2,52,3],[52,5,52,6],[53,2,53,4],[53,5,53,6],[54,2,54,4],[54,5,54,6],[55,0,56,0],[57,0,58,0],[59,0,60,0],[61,2,61,3],[61,5,61,6],[62,2,62,3],[62,5,62,6],[63,0,63,7],[64,3,64,7],[65,0,65,7],[66,0,66,5],[66,6,66,7],[67,0,69,0],[70,0,71,0],[72,0,73,0],[74,0,75,0],[76,0,77,0],[78,0,79,0],[80,2,80,3],[80,5,80,6],[81,2,81,3],[81,5,81,6],[82,2,82,3],[82,5,82,6],[83,2,83,3],[83,5,83,6],[84,2,84,3],[84,5,84,6],[85,0,85,7],[86,3,86,7],[87,0,87,7],[88,0,88,5],[88,6,88,7],[89,0,91,0],[92,0,94,0],[95,0,96,0],[97,0,98,0],[99,0,100,0],[101,0,102,0],[103,2,103,3],[103,5,103,6],[104,2,104,3],[104,5,104,6],[105,0,105,7],[106,3,106,7],[107,0,107,7],[108,0,108,5],[108,6,108,7],[109,0,111,0],[112,0,113,0],[114,0,115,0],[116,0,117,0],[118,0,119,0],[120,0,121,0],[122,0,123,0],[124,2,124,3],[124,5,124,6],[125,0,125,7],[127,3,127,7],[128,0,128,7],[129,0,129,5],[129,6,129,7],[130,0,132,0],[133,2,133,3],[133,5,133,6],[134,2,134,3],[134,5,134,6],[135,2,135,3],[135,5,135,6],[136,2,136,3],[136,5,136,6],[137,2,137,3],[137,5,137,6],[138,2,138,3],[138,5,138,6],[139,2,139,3],[139,5,139,6],[140,2,140,3],[140,5,140,6],[141,2,141,3],[141,5,141,6],[142,2,142,3],[142,5,142,6],[143,2,143,3],[143,5,143,6],[144,0,145,0],[146,0,146,7],[147,3,147,7],[148,0,148,7],[149,0,149,5],[149,6,149,7],[150,0,152,0],[153,0,154,0],[155,0,156,0],[157,0,158,0],[159,0,160,0],[161,0,162,0],[163,2,163,3],[163,5,163,6],[164,2,164,3],[164,5,164,6],[165,2,165,3],[165,5,165,6],[166,2,166,3],[166,5,166,6],[167,0,167,7],[169,3,169,7],[170,0,170,7],[171,0,171,5],[171,6,171,7],[172,0,174,0],[175,2,175,3],[175,5,175,6],[176,2,176,3],[176,5,176,6],[177,2,177,3],[177,5,177,6],[178,2,178,3],[178,5,178,6],[179,2,179,3],[179,5,179,6],[180,2,180,4],[180,5,180,6],[181,2,181,4],[181,5,181,6],[182,0,184,0],[185,2,185,3],[185,5,185,6],[186,2,186,3],[186,5,186,6],[187,2,187,3],[187,5,187,6],[188,2,188,3],[188,5,188,6],[189,2,189,3],[189,5,189,6],[190,2,190,3],[190,5,190,6],[191,0,191,7],[192,3,192,7],[193,0,193,7],[194,0,194,5],[194,6,194,7],[195,0,197,0],[198,0,200,0],[201,0,203,0],[204,2,204,3],[204,5,204,6],[205,2,205,3],[205,5,205,6],[206,2,206,3],[206,5,206,6],[207,2,207,4],[207,5,207,6],[208,2,208,4],[208,5,208,6],[209,0,210,0],[211,0,211,7],[213,3,213,7],[214,0,214,7],[215,0,215,5],[215,6,215,7],[216,0,218,0],[219,0,221,0],[222,2,222,3],[222,5,222,6],[223,2,223,3],[223,5,223,6],[224,2,224,3],[224,5,224,6],[225,2,225,3],[225,5,225,6],[226,2,226,4],[226,5,226,6],[227,2,227,4],[227,5,227,6],[228,0,229,0],[230,0,231,0],[232,2,232,3],[232,5,232,6],[233,2,233,3],[233,5,233,6],[234,2,234,3],[234,5,234,6],[235,0,235,7],[236,3,236,7],[237,0,237,7],[238,0,238,5],[238,6,238,7],[239,0,241,0],[242,0,243,0],[244,2,244,3],[244,5,244,6],[245,2,245,3],[245,5,245,6],[246,2,246,3],[246,5,246,6],[247,2,247,4],[247,5,247,6],[248,2,248,4],[248,5,248,6],[249,2,249,3],[249,5,249,6],[250,0,252,0],[253,0,255,0],[256,0,256,7],[257,3,257,7],[258,0,258,7],[259,0,259,5],[259,6,259,7],[260,0,262,0],[263,0,264,0],[265,2,265,3],[265,5,265,6],[266,2,266,3],[266,5,266,6],[267,2,267,3],[267,5,267,6],[268,2,268,4],[268,5,268,6],[269,2,269,4],[269,5,269,6],[270,0,271,0],[272,0,273,0],[274,0,275,0],[276,2,276,3],[276,5,276,6],[277,0,277,7],[278,3,278,7],[279,0,279,7],[280,0,280,5],[280,6,280,7],[281,0,283,0],[284,0,285,0],[286,2,286,3],[286,5,286,6],[287,2,287,3],[287,5,287,6],[288,0,289,0],[290,2,290,3],[290,5,290,6],[291,2,291,4],[291,5,291,6],[292,2,292,4],[292,5,292,6],[293,0,294,0],[295,0,296,0],[297,2,297,3],[297,5,297,6],[298,2,298,3],[298,5,298,6],[299,2,299,3],[299,5,299,6],[300,0,300,7],[301,3,301,7],[302,0,302,7],[303,0,303,5],[303,6,303,7],[304,0,306,0],[307,0,308,0],[309,0,310,0],[319,2,319,3],[319,5,319,6],[320,2,320,3],[320,5,320,6],[321,0,321,7],[322,3,322,7],[323,0,323,7],[324,0,324,5],[324,6,324,7],[340,2,340,4],[340,5,340,6],[341,2,341,4],[341,5,341,6],[342,2,342,3],[342,5,342,6],[343,2,343,3],[343,5,343,6],[344,0,344,7],[346,3,346,7],[347,0,347,7],[348,0,348,5],[348,6,348,7],[364,2,364,3],[364,5,364,6],[365,0,365,7],[366,3,366,7],[367,0,367,7],[368,0,368,5],[368,6,368,7],[376,2,376,3],[376,5,376,6],[377,2,377,3],[377,5,377,6],[378,2,378,3],[378,5,378,6],[379,2,379,3],[379,5,379,6],[380,2,380,3],[380,5,380,6],[381,2,381,3],[381,5,381,6],[382,2,382,3],[382,5,382,6],[383,2,383,3],[383,5,383,6],[384,2,384,3],[384,5,384,6],[385,2,385,3],[385,5,385,6],[386,2,386,3],[386,5,386,6],[387,0,387,7],[388,3,388,7],[389,0,389,7],[390,0,390,5],[390,6,390,7],[394,2,394,3],[394,5,394,6],[395,2,395,3],[395,5,395,6],[396,2,396,3],[396,5,396,6],[397,2,397,3],[397,5,397,6],[398,2,398,3],[398,5,398,6],[399,2,399,3],[399,5,399,6],[400,2,400,3],[400,5,400,6],[401,2,401,3],[401,5,401,6],[402,2,402,3],[402,5,402,6],[403,2,403,3],[403,5,403,6],[404,2,404,3],[404,5,404,6],[405,2,405,3],[405,5,405,6],[406,2,406,3],[406,5,406,6],[407,2,407,3],[407,5,407,6],[408,0,408,7],[409,3,409,7],[410,0,410,7],[411,0,411,5],[411,6,411,7],[415,2,415,3],[415,5,415,6],[425,2,425,3],[425,5,425,6],[426,2,426,3],[426,5,426,6],[427,0,427,7],[428,3,428,7],[429,0,429,7],[430,0,430,5],[430,6,430,7],[434,2,434,3],[434,5,434,6],[435,2,435,3],[435,5,435,6],[436,2,436,3],[436,5,436,6],[439,2,439,3],[439,5,439,6],[440,2,440,4],[440,5,440,6],[441,2,441,4],[441,5,441,6],[446,2,446,3],[446,5,446,6],[447,2,447,3],[447,5,447,6],[448,0,448,7],[449,3,449,7],[450,0,450,7],[451,0,451,5],[451,6,451,7],[465,0,465,7],[466,3,466,7],[467,0,467,7],[468,0,468,5],[468,6,468,7],[482,2,482,3],[482,5,482,6],[483,2,483,3],[483,5,483,6],[484,0,484,7],[485,3,485,7],[486,0,486,7],[487,0,487,5],[487,6,487,7],[491,2,491,3],[491,5,491,6],[492,2,492,3],[492,5,492,6],[493,2,493,3],[493,5,493,6],[494,2,494,3],[494,5,494,6],[495,2,495,3],[495,5,495,6],[496,2,496,3],[496,5,496,6],[497,2,497,3],[497,5,497,6],[498,2,498,3],[498,5,498,6],[499,2,499,3],[499,5,499,6],[500,2,500,3],[500,5,500,6],[501,2,501,3],[501,5,501,6],[502,2,502,3],[502,5,502,6],[503,2,503,3],[503,5,503,6],[504,2,504,3],[504,5,504,6],[505,0,505,7],[506,3,506,7],[507,0,507,7],[508,0,508,5],[508,6,508,7],[512,2,512,3],[512,5,512,6],[513,2,513,3],[513,5,513,6],[514,2,514,3],[514,5,514,6],[515,2,515,3],[515,5,515,6],[516,2,516,3],[516,5,516,6],[517,2,517,3],[517,5,517,6],[518,2,518,3],[518,5,518,6],[519,2,519,3],[519,5,519,6],[520,2,520,3],[520,5,520,6],[521,2,521,3],[521,5,521,6],[522,2,522,3],[522,5,522,6],[523,2,523,3],[523,5,523,6],[524,2,524,3],[524,5,524,6],[525,2,525,3],[525,5,525,6],[526,2,526,3],[526,5,526,6],[527,2,527,3],[527,5,527,6],[528,0,528,7],[530,3,530,7],[531,0,531,7],[532,0,532,5],[532,6,532,7],[538,2,538,3],[538,5,538,6],[539,2,539,3],[539,5,539,6],[542,2,542,3],[542,5,542,6],[543,2,543,3],[543,5,543,6],[544,2,544,3],[544,5,544,6],[545,2,545,3],[545,5,545,6],[546,2,546,3],[546,5,546,6],[547,2,547,3],[547,5,547,6],[548,0,548,7],[550,3,550,7],[551,0,551,7],[552,0,552,5],[552,6,552,7],[556,2,556,3],[556,5,556,6],[557,2,557,3],[557,5,557,6],[564,2,564,3],[564,5,564,6],[567,2,567,3],[567,5,567,6],[568,2,568,3],[568,5,568,6],[569,0,569,7],[570,3,570,7],[571,0,571,7],[572,0,572,5],[572,6,572,7],[576,2,576,4],[576,5,576,6],[577,2,577,4],[577,5,577,6],[578,2,578,3],[578,5,578,6],[583,2,583,3],[583,5,583,6],[584,2,584,4],[584,5,584,6],[585,2,585,4],[585,5,585,6],[589,2,589,3],[589,5,589,6],[590,2,590,3],[590,5,590,6],[591,2,591,3],[591,5,591,6],[592,2,592,3],[592,5,592,6],[593,2,593,3],[593,5,593,6],[594,2,594,3],[594,5,594,6],[595,2,595,3],[595,5,595,6],[596,0,596,7],[597,3,597,7],[598,0,598,7],[599,0,599,5],[599,6,599,7],[615,0,615,7],[617,3,617,7],[618,0,618,7],[619,0,619,5],[619,6,619,7],[631,2,631,3],[631,5,631,6],[632,2,632,3],[632,5,632,6],[633,2,633,3],[633,5,633,6],[634,2,634,3],[634,5,634,6],[635,2,635,3],[635,5,635,6],[636,2,636,3],[636,5,636,6],[637,0,637,7],[639,3,639,7],[640,0,640,7],[641,0,641,5],[641,6,641,7],[654,2,654,3],[654,5,654,6],[655,2,655,3],[655,5,655,6],[656,2,656,3],[656,5,656,6],[657,2,657,3],[657,5,657,6],[658,2,658,3],[658,5,658,6],[659,0,659,7],[660,3,660,7],[661,0,661,7],[662,0,662,5],[662,6,662,7],[672,2,672,3],[672,5,672,6],[673,2,673,3],[673,5,673,6],[674,2,674,3],[674,5,674,6],[675,2,675,3],[675,5,675,6],[676,2,676,3],[676,5,676,6],[677,2,677,3],[677,5,677,6],[678,2,678,3],[678,5,678,6],[679,0,679,7],[681,3,681,7],[682,0,682,7],[683,0,683,5],[683,6,683,7],[687,2,687,3],[687,5,687,6],[688,2,688,3],[688,5,688,6],[689,2,689,3],[689,5,689,6],[690,2,690,3],[690,5,690,6],[691,2,691,3],[691,5,691,6],[692,2,692,3],[692,5,692,6],[693,2,693,3],[693,5,693,6],[694,2,694,3],[694,5,694,6],[695,2,695,3],[695,5,695,6],[696,2,696,3],[696,5,696,6],[697,2,697,3],[697,5,697,6],[698,2,698,3],[698,5,698,6],[699,2,699,3],[699,5,699,6],[700,2,700,3],[700,5,700,6],[701,0,701,7],[702,3,702,7],[703,0,703,7],[704,0,704,5],[704,6,704,7],[708,2,708,3],[708,5,708,6],[709,2,709,3],[709,5,709,6],[710,2,710,3],[710,5,710,6],[711,2,711,3],[711,5,711,6],[712,2,712,3],[712,5,712,6],[713,2,713,3],[713,5,713,6],[714,2,714,3],[714,5,714,6],[715,2,715,3],[715,5,715,6],[716,2,716,3],[716,5,716,6],[717,2,717,3],[717,5,717,6],[718,2,718,3],[718,5,718,6],[719,2,719,3],[719,5,719,6],[720,2,720,3],[720,5,720,6],[721,2,721,3],[721,5,721,6],[722,0,722,7],[723,3,723,7],[724,0,724,7],[725,0,725,5],[725,6,725,7],[729,2,729,3],[729,5,729,6],[730,2,730,3],[730,5,730,6],[731,2,731,3],[731,5,731,6],[732,2,732,3],[732,5,732,6],[733,2,733,3],[733,5,733,6],[734,2,734,3],[734,5,734,6],[735,2,735,3],[735,5,735,6],[736,2,736,3],[736,5,736,6],[737,2,737,3],[737,5,737,6],[738,2,738,3],[738,5,738,6],[739,2,739,3],[739,5,739,6],[740,2,740,3],[740,5,740,6],[741,2,741,3],[741,5,741,6],[742,2,742,3],[742,5,742,6],[743,0,743,7],[744,3,744,7],[745,0,745,7],[746,0,746,5],[746,6,746,7],[750,2,750,3],[750,5,750,6],[751,2,751,3],[751,5,751,6],[752,2,752,3],[752,5,752,6],[753,2,753,3],[753,5,753,6],[754,2,754,3],[754,5,754,6],[755,2,755,3],[755,5,755,6],[756,2,756,3],[756,5,756,6],[757,2,757,3],[757,5,757,6],[758,2,758,3],[758,5,758,6],[759,2,759,3],[759,5,759,6],[760,2,760,3],[760,5,760,6],[761,2,761,3],[761,5,761,6],[762,2,762,3],[762,5,762,6],[763,2,763,3],[763,5,763,6],[764,0,764,7],[765,3,765,7],[766,0,766,7],[767,0,767,5],[767,6,767,7],[771,2,771,3],[771,5,771,6],[772,2,772,3],[772,5,772,6],[773,2,773,3],[773,5,773,6],[774,2,774,3],[774,5,774,6],[775,2,775,3],[775,5,775,6],[776,2,776,3],[776,5,776,6],[777,2,777,3],[777,5,777,6],[778,2,778,3],[778,5,778,6],[779,2,779,3],[779,5,779,6],[780,2,780,3],[780,5,780,6],[781,2,781,3],[781,5,781,6],[782,2,782,3],[782,5,782,6],[783,2,783,3],[783,5,783,6],[784,2,784,3],[784,5,784,6],[785,0,785,7],[786,3,786,7],[787,0,787,7],[788,0,788,5],[788,6,788,7],[792,2,792,3],[792,5,792,6],[793,2,793,3],[793,5,793,6],[794,2,794,3],[794,5,794,6],[795,2,795,4],[795,5,795,6],[796,2,796,4],[796,5,796,6],[803,2,803,3],[803,5,803,6],[804,2,804,3],[804,5,804,6],[805,0,805,7],[807,3,807,7],[808,0,808,7],[809,0,809,5],[809,6,809,7],[822,2,822,3],[822,5,822,6],[823,0,823,7],[825,3,825,7],[826,0,826,7],[827,0,827,5],[827,6,827,7],[840,2,840,3],[840,5,840,6],[841,0,841,7],[842,3,842,7],[843,0,843,7],[844,0,844,5],[844,6,844,7],[848,2,848,3],[848,5,848,6],[849,2,849,3],[849,5,849,6],[850,2,850,3],[850,5,850,6],[851,2,851,3],[851,5,851,6],[852,2,852,3],[852,5,852,6],[853,2,853,3],[853,5,853,6],[854,2,854,3],[854,5,854,6],[855,2,855,3],[855,5,855,6],[856,2,856,3],[856,5,856,6],[857,2,857,3],[857,5,857,6],[858,2,858,3],[858,5,858,6],[859,2,859,3],[859,5,859,6],[860,2,860,3],[860,5,860,6],[861,2,861,3],[861,5,861,6],[862,2,862,3],[862,5,862,6],[863,0,863,7],[864,3,864,7],[865,0,865,7],[866,0,866,5],[866,6,866,7],[870,2,870,3],[870,5,870,6],[871,2,871,3],[871,5,871,6],[872,2,872,3],[872,5,872,6],[873,2,873,3],[873,5,873,6],[874,2,874,3],[874,5,874,6],[875,2,875,3],[875,5,875,6],[878,2,878,3],[878,5,878,6],[879,2,879,3],[879,5,879,6],[880,2,880,4],[880,5,880,6],[881,2,881,4],[881,5,881,6],[882,0,882,7],[884,3,884,7],[885,0,885,7],[886,0,886,5],[886,6,886,7],[899,2,899,3],[899,5,899,6],[900,2,900,3],[900,5,900,6],[901,2,901,3],[901,5,901,6],[902,2,902,3],[902,5,902,6],[903,2,903,3],[903,5,903,6],[904,2,904,3],[904,5,904,6],[905,0,905,7],[907,3,907,7],[908,0,908,7],[909,0,909,5],[909,6,909,7],[923,2,923,4],[923,5,923,6],[924,2,924,3],[924,5,924,6],[925,2,925,3],[925,5,925,6],[926,0,926,7],[927,3,927,7],[928,0,928,7],[929,0,929,5],[929,6,929,7],[933,2,933,3],[933,5,933,6],[934,2,934,3],[934,5,934,6],[935,2,935,3],[935,5,935,6],[936,2,936,3],[936,5,936,6],[937,2,937,3],[937,5,937,6],[938,2,938,3],[938,5,938,6],[939,2,939,3],[939,5,939,6],[940,2,940,3],[940,5,940,6],[941,2,941,3],[941,5,941,6],[942,2,942,3],[942,5,942,6],[943,2,943,3],[943,5,943,6],[944,2,944,3],[944,5,944,6],[945,2,945,3],[945,5,945,6],[946,2,946,3],[946,5,946,6],[947,2,947,3],[947,5,947,6],[948,2,948,3],[948,5,948,6],[949,2,949,3],[949,5,949,6],[950,2,950,3],[950,5,950,6],[951,2,951,3],[951,5,951,6],[952,2,952,3],[952,5,952,6],[953,2,953,3],[953,5,953,6],[954,2,954,3],[954,5,954,6],[955,2,955,3],[955,5,955,6],[956,2,956,3],[956,5,956,6],[957,2,957,3],[957,5,957,6],[958,2,958,3],[958,5,958,6],[959,2,959,3],[959,5,959,6],[960,2,960,3],[960,5,960,6],[961,2,961,3],[961,5,961,6],[962,2,962,3],[962,5,962,6],[963,2,963,3],[963,5,963,6],[964,2,964,3],[964,5,964,6],[965,2,965,3],[965,5,965,6],[966,2,966,3],[966,5,966,6],[967,2,967,3],[967,5,967,6],[968,2,968,3],[968,5,968,6],[969,0,969,7],[970,3,970,7]],"merged_total":1971,"flags":["formulas_cached_only","merged_cut"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
[null,"1-3","消防应急疏散照明指示系统",{"$nulls":4},""]
["1","030404017059","配电箱",null,"1、名称：A型应急照明集中电源\n2、型号：HZ-D-1KAV\n3、规格：AC220V,DC36V,内置锂电池(供电持续时间不少于1.5h)\n4、安装方式：底距地1.2m挂装\n5、其他：具体配置详见系统图","台",null,"11.000"]
[]
[]
["2","030404017060","配电箱",null,"1、名称：A型应急照明集中电源(楼梯间专用)\n2、型号：HZ-D-0.6KAV\n3、规格：AC220V,DC36V,内置锂电池(供电持续时间不少于1.5h)\n4、安装方式：底距地1.2m挂装\n5、其他：具体配置详见系统图","台",null,"3.000"]
[]
[]
["3","WB030904008001","消防智能疏散",null,"1、名称：消防应急标志灯具-安全出口\n2、规格：不锈钢面板,金属后盖板,厚度不大于10mm\n3、型号：HZ-BLJC-Ⅱ1LROE1W,36V\n4、安装方式：门框上方0.2m挂装","个",null,"3.000"]
[]
[]
["4","WB030904008002","消防智能疏散",null,"1、名称：消防应急标志灯具-疏散出口\n2、规格：不锈钢面板,金属后盖板,厚度不大于10mm\n3、型号：HZ-BLJC-Ⅱ1LROE1W,36V\n4、安装方式：门框上方0.2m挂装","个",null,"109.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["5","WB030904008003","消防智能疏散",null,"1、名称：消防应急标志灯具-楼层\n2、规格：不锈钢面板,金属后盖板,厚度不大于10mm\n3、型号：HZ-BLJC-Ⅱ1LROE1W,36V\n4、安装方式：底边距地2.2m挂装","个",null,"23.000"]
[]
[]
["6","WB030904008004","消防智能疏散",null,"1、名称：消防应急标志灯具-单面右向/右向\n2、规格：不锈钢面板,金属后盖板,厚度不大于10mm\n3、型号：HZ-BLJC-Ⅱ1LROE1W,36V\n4、安装方式：底距地0.5m挂装","个",null,"165.000"]
[]
["7","WB030904008005","消防智能疏散",null,"1、名称：消防应急标志灯具-双面多信息复合灯具\n2、规格：不锈钢面板,金属后盖板,厚度不大于10mm\n3、型号：HZ-BLJC-Ⅱ1LROE1W,36V\n4、安装方式：底距地2.5m吊装","个",null,"26.000"]
[]
[]
["8","WB030904008006","消防智能疏散",null,"1、名称：消防应急照明灯具\n2、型号：HZ-ZFJC-E10W,36V\n3、安装方式：吸顶安装","个",null,"50.000"]
["9","WB030904008007","消防智能疏散",null,"1、名称：消防应急照明灯具\n2、型号：HZ-ZFJC-E7W,36V\n3、安装方式：吸顶安装","个",null,"247.000"]
{"$rows_empty":7}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["10","WB030904008008","消防智能疏散",null,"1、名称：消防应急照明灯具\n2、型号：HZ-ZFJC-E5W,36V\n3、安装方式：壁装","个",null,"70.000"]
["11","030411001011","配管",null,"1、名称：电气配管\n2、规格：JDG20\n3、敷设方式：暗配/明配","m",null,"5633.050"]
["12","030411004013","配线",null,"1、名称：WDZN-RYS-2*2.5\n2、敷设方式：穿管敷设","m",null,"1008.000"]
["13","030411004014","配线",null,"1、名称：WDZN-RYS-2*4\n2、敷设方式：穿管敷设","m",null,"5682.730"]
["14","030411006003","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型\n3、安装形式：暗装","个",null,"706.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-4","消防电工程",{"$nulls":4},""]
["15","030904008001","接线端子箱",null,"1、名称：消防接线端子箱\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"24.000"]
[]
["16","030904008002","接线端子箱",null,"1、名称：消防金属模块箱\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"21.000"]
[]
["17","030904001001","点型探测器",null,"1、名称：智能型感烟探测器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"335.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["18","030904001002","点型探测器",null,"1、名称：智能型感温探测器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"38.000"]
[]
["19","030904001003","点型探测器",null,"1、名称：智能型感温探测器(防爆）\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"8.000"]
[]
["20","030904003001","按钮",null,"1、名称：带消防电话插孔的手动报警按钮\n2、安装方式：底边距地1.3m\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"96.000"]
[]
["21","030904005001","声光报警器",null,"1、名称：声光警报器\n2、安装方式：底边距地2.5m\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"116.000"]
[]
["22","030904006001","消防报警电话插孔（电话）",null,"1、名称：火灾报警电话机\n2、安装方式：底边距地1.3m\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"27.000"]
{"$rows_empty":8}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["23","030904008003","模块（模块箱）",null,"1、名称：火灾显示盘\n2、安装方式：壁挂安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料\n4、详见设计图纸、答疑及招标文件等","个",null,"11.000"]
[]
[]
["24","030904001004","探测器",null,"1、名称：可燃气体探测器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"4.000"]
[]
["25","030904003002","按钮",null,"1、名称：消火栓按钮\n2、安装方式：消火栓箱内安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"63.000"]
[]
["26","030904008004","模块",null,"1、名称：编码单输入/单输出模块\n2、规格：模块箱内安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"48.000"]
[]
["27","030904008005","模块",null,"1、名称：编码单输入模块\n2、规格：模块箱内安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"45.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["28","030904008006","模块",null,"1、名称：短路隔离模块\n2、规格：模块箱内安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"39.000"]
[]
["29","030904009001","区域报警控制箱",null,"1、名称：可燃气体报警控制器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"2.000"]
[]
["30","030904009002","区域报警控制箱",null,"1、名称：气体灭火控制器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"2.000"]
[]
["31","030904003003","按钮",null,"1、名称：紧急启停按钮\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"2.000"]
[]
["32","030412004001","装饰灯",null,"1、名称：气体释放灯\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","套",null,"3.000"]
[]
["33","030904005002","声光报警器",null,"1、名称：非编码火灾声光报警器\n2、安装方式：底边距地2.5m\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"4.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["34","030411006004","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型","个",null,"889.000"]
["35","030411001012","配管",null,"1、名称：电气配管\n2、规格：JDG25\n3、配置要求：暗配/明配","m",null,"550.000"]
["36","030411001013","配管",null,"1、名称：电气配管\n2、规格：JDG20\n3、配置要求：暗配/明配","m",null,"11466.850"]
["37","030411004015","配线",null,"1、名称：WDZC-RYJ-2X2.5\n2、敷设方式：穿管敷设","m",null,"99.830"]
["38","030411004016","配线",null,"1、名称：WDZN-RYJ-4X1.5\n2、敷设方式：穿管敷设","m",null,"8061.250"]
["39","030411004017","配线",null,"1、名称：WDZN-RYJ-2X1.5\n2、敷设方式：穿管敷设","m",null,"10369.680"]
["40","030411004018","配线",null,"1、名称：WDZN-RYJS-2X1.0 \n2、敷设方式：穿管敷设","m",null,"3296.160"]
["41","030408002006","控制电缆",null,"1、名称：WDZN-KYJY-7x1.5\n2、敷设方式、部位：桥架、穿管敷设","m",null,"466.600"]
["42","030411004019","配线",null,"1、名称：WDZN-BYJ-1.5\n2、敷设方式：穿管敷设","m",null,"2587.860"]
["43","030411004020","配线",null,"1、名称：WDZN-RYJS-2X1.5\n2、敷设方式：穿管敷设","m",null,"3971.990"]
["44","030411004021","配线",null,"1、名称：WDZN-RYJ-5X1.0 \n2、敷设方式：穿管敷设","m",null,"500.000"]
["45","030905001001","自动报警系统装置调试",null,"1、点数：1000点以下\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","系统",null,"1.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["46","030904008007","模块（模块箱）",null,"1、名称：应急广播强切模块\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个（台）",null,"12.000"]
[]
["47","030506004001","背景音乐系统设备",null,"1、名称：公共广播数字功放\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"12.000"]
[]
["48","030506004002","背景音乐系统设备",null,"1、名称：机柜电源\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"12.000"]
[]
["49","030904007001","扬声器",null,"1、名称：3W吸顶扬声器\n2、安装方式：吸顶安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"94.000"]
[]
["50","030904007002","扬声器",null,"1、名称：6W挂壁扬声器\n2、安装方式：吸顶安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"115.000"]
[]
["51","030411006005","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型","个",null,"209.000"]
["52","030411001014","配管",null,"1、名称：电气配管\n2、规格：JDG20\n3、配置要求：暗配/明配","m",null,"3571.600"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["53","030408001034","电力电缆",null,"1、名称：WDZA-YJV-3x10\n2、敷设方式、部位：桥架、穿管敷设","m",null,"250.000"]
["54","030502005001","网线",null,"1、名称：数据线 UTP-CAT6\n2、敷设方式：穿管敷设","m",null,"550.000"]
["55","030411004022","配线",null,"1、名称：广播线 \n2、规格：WDZN-RYS-2X1.5\n3、敷设方式：穿管敷设","m",null,"200.000"]
["56","030411004023","配线",null,"1、名称：广播线 \n2、规格：WDZN-RYJS-3X1.5\n3、敷设方式：穿管敷设","m",null,"3571.600"]
["57","WB030905001001","火灾事故广播、消防通信系统调试",null,"1、说明：满足相关技术规范及消防验收要求","只",null,"209.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-5","防火门监控系统",{"$nulls":4},""]
["58","WB030904007001","防火门监控控制器",null,"1、名称：防火门监控分机\n2、规格：主备用电源自动切换输出24V供电,可带载128个终端执行装置(电动闭门器+电磁释放器≤64台)。\n3、安装方式：壁装\n4、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"2.000"]
{"$rows_empty":10}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["59","WB030904006001","防火门监控模块",null,"1、名称：常闭防火门监控模块\n2、规格：用于监控常闭防火门闭合状态\n3、安装方式：防火门上方安装\n4、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"68.000"]
[]
[]
["60","030411006006","接线盒",null,"1、名称：防火门门磁开关\n2、规格：探测防火门的开、闭状态,并反馈至防火门监控器\n3、安装形式：门楣上方\n4、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"136.000"]
[]
[]
["61","030411001015","配管",null,"1、名称：电气穿线管\n2、规格：SC20\n3、配置要求：暗配","m",null,"819.770"]
["62","030411004024","配线",null,"1、名称：WDZN-RYJS-2x1.5\n2、敷设方式：穿管敷设","m",null,"819.770"]
["63","030411004025","配线",null,"1、名称：WDZN-RYJ-2x2.5\n2、敷设方式：穿管敷设","m",null,"819.770"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-6","消防设备电源监控系统",{"$nulls":4},""]
["64","030904008008","模块（模块箱）",null,"1、名称：区域分机\n2、尺寸：400*300*120\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料\n4、安装方式：单面壁挂","台",null,"2.000"]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["65","WB030904005001","消防设备电源监控设备",null,"1、名称：电压信号传感器（含导轨）\n2、规格：SIWOFB\n3、安装方式：满足设计要求\n4、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"20.000"]
[]
[]
["66","030411001016","配管",null,"1、名称：电气穿线管\n2、规格：SC20\n3、配置要求：暗配","m",null,"666.000"]
["67","030411004026","配线",null,"1、名称：WDZN-BYJ-2.5\n2、敷设方式：穿管敷设","m",null,"684.600"]
["68","030411004027","配线",null,"1、名称：WDZN-RYS-2X1.5\n2、敷设方式：穿管敷设","m",null,"342.300"]
["69","030411006007","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型","个",null,"20.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-7","电气火灾监控系统",{"$nulls":4},""]
["70","WB030904005002","电气火灾监控设备",null,"1、名称：通讯管理机\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"2.000"]
[]
["71","WB030904005003","电气火灾监控设备",null,"1、名称：电气火灾监控模块\n2、规格：ARCM200L-J1\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"18.000"]
[]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["72","WB030904005004","电气火灾监控设备",null,"1、名称：电气火灾监控模块\n2、规格：SIEOFRC-300mA\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"19.000"]
[]
["73","030411001017","配管",null,"1、名称：电气配管\n2、规格：SC20\n3、敷设方式：暗配/明配","m",null,"1500.000"]
["74","030411004028","配线",null,"1、名称：WDZN-RYSP-4X1.5\n2、敷设方式：穿管敷设","m",null,"1500.000"]
["75","030411006008","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型","个",null,"38.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-8","智能照明系统",{"$nulls":4},""]
["76","WB030412001001","控制面板",null,"1、名称：开关","台",null,"11.000"]
["77","080903004001","模块(接口)",null,"1、名称：8回路开关模块\n2、规格型号：4回路开关模块,每通道最大电流16A,带手动强切按钮,具有掉电记忆功能\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","只",null,"11.000"]
[]
[]
["78","080903004002","模块(接口)",null,"1、名称：4回路开关模块\n2、规格型号：4回路开关模块,每通道最大电流16A,带手动强切按钮,具有掉电记忆功能\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","只",null,"11.000"]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["79","031101055001","光电转换器",null,"1、名称：光电转换及网关\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"1.000"]
[]
["80","030411001018","配管",null,"1、名称：电气配管\n2、规格：SC20\n3、敷设方式：暗配/明配","m",null,"500.000"]
["81","030411004029","配线",null,"1、名称：WDZN-RYSP-2X1.5\n2、敷设方式：穿管敷设","m",null,"500.000"]
["82","030411006009","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型","个",null,"22.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-9","疏散通道余压监控系统",{"$nulls":4},""]
["83","WB030904016001","余压监控系统设备",null,"1、名称：余压监控器主机\n2、安装方式：底边距地1.3m\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["84","WB030904016002","余压监控系统设备",null,"1、名称：余压传感器\n2、安装方式：底边距地2.0m\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"34.000"]
[]
["85","WB030904016003","余压监控系统设备",null,"1、名称：泄压阀执行器\n2、安装方式：旁通管泄压阀处安装\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"5.000"]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["86","WB030904016004","余压监控系统设备",null,"1、名称：余压控制器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"5.000"]
[]
["87","030411001019","配管",null,"1、名称：电气配管\n2、规格：SC15\n3、敷设方式：暗配/明配","m",null,"220.000"]
["88","030411004030","配线",null,"1、名称：WDZN-RYJ-2X1.5\n2、敷设方式：穿管敷设","m",null,"220.000"]
["89","030502007001","光缆",null,"1、名称：单芯光缆光纤\n2、敷设方式：穿管/桥架敷设\n3、其他：具体详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m",null,"126.500"]
[]
["90","030411006010","接线盒",null,"1、名称：钢制接线盒\n2、规格：86型","个",null,"1.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"1-11","消控室",{"$nulls":4},""]
["91","ZB030101001001","智能照明控制系统主机",null,"1、智能照明控制系统主机\n2、未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["92","030904012001","火灾报警系统控制主机",null,"1、名称：火灾报警控制器\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["93","WB030904008009","消防智能疏散",null,"1、名称：应急照明与疏散指示控制系统主机\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","个",null,"1.000"]
[]
["94","030904014001","消防广播及对讲电话主机（柜）",null,"1、名称：公共广播兼消防应急广播\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["95","030904009003","区域报警控制箱",null,"1、名称：防火门监控主机\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["96","030904009004","区域报警控制箱",null,"1、多线制：消防电源监控主机\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["97","030904012002","火灾报警系统控制主机",null,"1、名称：电气火灾监控系统主机\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["98","030904015001","火灾报警控制微机（CRT）",null,"1、名称：消防控制室图形显示装置\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["99","030904006002","消防报警电话插孔（电话）",null,"1、名称：火警电话总机\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","部",null,"1.000"]
[]
["100","030904013001","联动控制主机",null,"1、名称：消防联动控制器\n2、说明：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["101","030904013002","联动控制主机",null,"1、名称：电梯控制盘\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["102","030904013003","联动控制主机",null,"1、名称：广播控制盘\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["103","WB030904015001","水位显示报警装置",null,"1、名称：水位显示装置\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
["104","WB030405003001","UPS安装",null,"1、名称：UPS不间断电源\n2、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","台",null,"1.000"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"2-7","消火栓系统",{"$nulls":4},""]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["105","030901002001","消火栓钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管 DN200\n3、连接形式：卡箍连接\n4、说明：包含各类管件","m",null,"6.900"]
[]
["106","030901002002","消火栓钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管 DN150\n3、连接形式：卡箍连接\n4、说明：包含各类管件","m",null,"200.670"]
[]
["107","030901002003","消火栓钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管 DN100\n3、连接形式：卡箍连接\n4、说明：包含各类管件","m",null,"342.830"]
[]
["108","030901002004","消火栓钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管 DN80\n3、连接形式：卡箍连接\n4、说明：包含各类管件","m",null,"3.830"]
[]
["109","030901002005","消火栓钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管 DN65\n3、连接形式：卡箍连接\n4、说明：包含各类管件","m",null,"118.360"]
[]
["110","030901002006","消火栓钢管",null,"1、安装部位：室内\n2、材质、规格：内外壁热浸镀锌钢管 DN50\n3、连接形式：卡箍连接\n4、说明：包含各类管件","m",null,"7.770"]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["111","030901010001","薄型单栓带消防软管卷盘组合式消防柜",null,"1、附件材质、规格：附:DN65室内消火栓一个,φ19水枪一支、DN65水龙带25m一卷、消防软管卷盘一套\n2、说明：安装参见15S202-21","套",null,"54.000"]
[]
["112","030901010002","试验用消火栓箱",null,"1、附件材质、规格：附:DN65室内消火栓一个,φ19水枪一支、DN65水龙带25m一卷、消防软管卷盘一套\n2、说明：安装参见15S202-21","套",null,"1.000"]
[]
["113","030901013001","灭火器",null,"1、规格、型号：MF/ABC5（3A）","具",null,"182.000"]
["114","030901013002","灭火器箱",null,"1、规格、型号：放置两具灭火器","具",null,"37.000"]
["115","031003001003","自动排气阀",null,"1、规格、压力等级：DN25\n2、连接形式：螺纹连接","个",null,"1.000"]
["116","031003003040","截止阀",null,"1、规格、压力等级：DN25\n2、连接形式：螺纹连接","个",null,"1.000"]
["117","031003003041","闸阀",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["118","031003003042","闸阀",null,"1、规格、压力等级：DN150\n2、连接形式：法兰连接","个",null,"7.000"]
["119","031003003043","闸阀",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"6.000"]
["120","031003001004","闸阀",null,"1、规格、压力等级：DN80\n2、连接形式：螺纹连接","个",null,"1.000"]
["121","031003001005","闸阀",null,"1、规格、压力等级：DN50\n2、连接形式：螺纹连接","个",null,"2.000"]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["122","031003003044","蝶阀",null,"1、规格、压力等级：DN150\n2、连接形式：法兰连接","个",null,"12.000"]
["123","031003003045","蝶阀",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"11.000"]
["124","031003003046","蝶阀",null,"1、规格、压力等级：DN65\n2、连接形式：法兰连接","个",null,"1.000"]
["125","031003003047","缓闭式止回阀",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"2.000"]
["126","031003003048","持压泄压阀",null,"1、规格、压力等级：DN80\n2、连接形式：法兰连接","个",null,"1.000"]
["127","031003003049","Y型过滤器",null,"1、规格、压力等级：DN80\n2、连接形式：法兰连接","个",null,"1.000"]
["128","031003003050","可曲挠性接头",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["129","WB031003002001","直通式水锤吸纳器",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["130","031003003051","防止旋流器",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"4.000"]
["131","031003003052","防止旋流器",null,"1、规格、压力等级：DN50\n2、连接形式：法兰连接","个",null,"2.000"]
["132","031003003053","直读式流量计",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["133","031003003054","流量开关",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"1.000"]
["134","030601002003","压力表",null,"1、名称：压力表\n2、型号：符合图纸设计要求","台",null,"2.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["135","031003003055","低压压力开关",null,"1、规格、压力等级：DN150\n2、连接形式：法兰连接","个",null,"2.000"]
["136","031006015002","水箱",null,"1、名称：装配式不锈钢生活水箱\n2、型号：3000x2000x2500(mm)\n3、备注：有效水容积V=12m3\n4、说明：含溢流管、泄水管、通气管等","座",null,"1.000"]
[]
["137","030109001007","离心泵",null,"1、名称：室内消火栓加压泵\n2、型号：XBD9.8/40G-L Q=40L/S,H=98m,N=75kW/台\n3、说明：含控制柜、机械应急启动柜以及巡检柜，详见招标图纸","台",null,"2.000"]
[]
["138","031006002001","稳压给水设备",null,"1、名称：室内消火栓增压设备\n2、规格、型号：XW(L)-I-1.5-20-ADL一套,配用水泵:ADL4-3(Q=1.5L/S,H=20m,N=0.55KW)\n3、说明：两台,一用一备,气压罐型号:SQL800x0.6","套",null,"1.000"]
[]
[]
["139","031006015003","水箱",null,"1、名称：装配式不锈钢消防水箱\n2、型号：6000x4000x2500(mm)\n3、备注：有效水容积V=36m3","座",null,"1.000"]
[]
["140","031003011007","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN65\n3、连接形式：焊接","副",null,"1.000"]
["141","031003011008","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN80\n3、连接形式：焊接","副",null,"3.000"]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["142","031003011009","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN100\n3、连接形式：焊接","副",null,"19.000"]
["143","031003011010","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN200\n3、连接形式：焊接","副",null,"4.000"]
["144","031201001001","消火栓管道刷油",null,"1、除锈级别：红丹防锈漆两遍，调和漆两遍","m2",null,"283.140"]
["145","031002001002","管道支吊架制作与安装",null,"1、材质：碳钢\n2、管架形式：一般支架\n3、做法：除锈后樟丹防锈漆二道，再刷调和面漆两道","kg",null,"608.000"]
[]
["146","030905002001","水灭火系统控制装置调试",null,"1、系统形式：消火栓灭火系统\n2、说明：满足相关技术规范及消防验收要求","点",null,"54.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"2-8","喷淋系统",{"$nulls":4},""]
["147","030901001001","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN250\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"6.700"]
[]
["148","030901001002","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN200\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"221.350"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["149","030901001003","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN150\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"603.900"]
[]
["150","030901001004","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN125\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"3.700"]
[]
["151","030901001005","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN100\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"233.140"]
[]
["152","030901001006","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN80\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"111.470"]
[]
["153","030901001007","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN65\n4、连接形式：沟槽连接\n5、说明：含各类管件","m",null,"144.790"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["154","030901001008","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN50\n4、连接形式：卡压连接\n5、说明：含各类管件","m",null,"222.490"]
[]
["155","030901001009","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN40\n4、连接形式：卡压连接\n5、说明：含各类管件","m",null,"315.730"]
[]
["156","030901001010","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN32\n4、连接形式：卡压连接\n5、说明：含各类管件","m",null,"793.920"]
[]
["157","030901001011","水喷淋钢管",null,"1、名称：内外壁热浸锌镀锌钢管\n2、安装部位：室内\n3、材质、规格：DN25\n4、连接形式：卡压连接\n5、说明：含各类管件","m",null,"1370.660"]
[]
["158","030901003001","水喷淋（雾）喷头",null,"1、名称：喷头\n2、安装部位：室内\n3、材质、型号、规格：标准覆盖面积、标准响应喷头;K=80;公称动作温度:68℃","个",null,"1013.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["159","031003003056","闸阀",null,"1、规格、压力等级：DN250\n2、连接形式：法兰连接","个",null,"2.000"]
["160","031003003057","闸阀",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"4.000"]
["161","031003003058","闸阀",null,"1、规格、压力等级：DN125\n2、连接形式：法兰连接","个",null,"1.000"]
["162","031003003059","闸阀",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"4.000"]
["163","031003001006","闸阀",null,"1、规格、压力等级：DN50\n2、连接形式：螺纹连接","个",null,"4.000"]
["164","031003003060","止回阀",null,"1、规格、压力等级：DN50\n2、连接形式：法兰连接","个",null,"1.000"]
["165","031003003061","止回阀",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"1.000"]
["166","031003003062","缓闭式止回阀",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["167","031003003063","信号蝶阀",null,"1、规格、压力等级：DN150\n2、连接形式：法兰连接","个",null,"11.000"]
["168","031003003064","信号蝶阀",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["169","031003003065","试水阀",null,"1、规格、压力等级：DN65\n2、连接形式：法兰连接","个",null,"2.000"]
["170","031003003066","可曲挠性接头",null,"1、规格、压力等级：DN250\n2、连接形式：法兰连接","个",null,"2.000"]
["171","031003003067","可曲挠性接头",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["172","031003003068","压力调节阀",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"7.000"]
["173","031003003069","持压泄压阀",null,"1、规格、压力等级：DN125\n2、连接形式：法兰连接","个",null,"1.000"]
["174","031003003070","水流指示器",null,"1、规格、压力等级：DN150\n2、连接形式：法兰连接","个",null,"11.000"]
["175","031003003071","水流指示器",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["176","031003003072","Y型过滤器",null,"1、规格、压力等级：DN125\n2、连接形式：法兰连接","个",null,"1.000"]
["177","031003003073","流量开关",null,"1、规格、压力等级：DN100\n2、连接形式：法兰连接","个",null,"1.000"]
["178","WB031003002002","直通式水锤吸纳器",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["179","031003003074","直读式流量计",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["180","031003001007","截止阀",null,"1、规格、压力等级：DN50\n2、连接形式：螺纹连接","个",null,"11.000"]
["181","031003001008","电磁阀",null,"1、规格、压力等级：DN25\n2、连接形式：螺纹连接","个",null,"3.000"]
["182","031003001009","快速排气阀",null,"1、规格、压力等级：DN25\n2、连接形式：螺纹连接","个",null,"3.000"]
["183","031003001010","自动排气阀",null,"1、规格、压力等级：DN25\n2、连接形式：螺纹连接","个",null,"4.000"]
{"$rows_empty":7}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["184","030901008001","末端试水装置",null,"1、规格、压力等级：DN25\n2、连接形式：丝扣\n3、组成：含截止阀，压力表、漏斗等","组",null,"5.000"]
[]
["185","030901008002","末端试水阀",null,"1、规格、压力等级：DN25\n2、连接形式：丝扣\n3、组成：含截止阀、漏斗等","组",null,"6.000"]
["186","030904004001","水力警铃",null,"1、名称：水力警铃\n2、说明：详见招标图纸","个",null,"3.000"]
["187","030901004001","报警装置",null,"1、名称：湿式报报警阀组\n2、型号、规格：DN150\n3、连接方式：法兰连接\n4、说明：含DN150报警阀1个、DN150信号阀2个、水力警铃1个等附件","组",null,"3.000"]
[]
["188","030901007001","不锈钢减压孔板",null,"1、规格：DN150\n2、连接形式：法兰连接","个",null,"8.000"]
["189","031003003075","低压压力开关",null,"1、规格、压力等级：DN200\n2、连接形式：法兰连接","个",null,"2.000"]
["190","030601002004","压力表",null,"1、名称：压力表\n2、型号：符合图纸设计要求","台",null,"4.000"]
["191","031003011011","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN100\n3、连接形式：焊接","副",null,"5.000"]
["192","031003011012","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN125\n3、连接形式：焊接","副",null,"3.000"]
["193","031003011013","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN150\n3、连接形式：焊接","副",null,"30.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["194","031003011014","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN200\n3、连接形式：焊接","副",null,"10.000"]
["195","031003011015","法兰",null,"1、材质：碳钢\n2、规格、压力等级：DN250\n3、连接形式：焊接","副",null,"4.000"]
["196","030109001008","离心泵",null,"1、名称：自喷给水加压泵(与自动扫描水炮系统合用)\n2、型号：XBD10.2/55G-L,Q=55L/S ,H=102m,N=110kW/台\n3、说明：含控制柜、机械应急启动柜以及巡检柜，详见招标图纸","台",null,"2.000"]
[]
[]
["197","031006002002","稳压给水设备",null,"1、名称：室内自动喷淋增压设备\n2、规格、型号：XW(L)-I-1.5-20-ADL一套,配用水泵:ADL4-3(Q=1.5L/S,H=20m,N=0.55KW)\n3、说明：两台,一用一备,气压罐型号:SQL800x0.6","套",null,"1.000"]
[]
[]
["198","031201001002","消火栓管道刷油",null,"1、除锈级别：红丹防锈漆两遍，调和漆两遍","m2",null,"767.890"]
["199","031002001003","管道支吊架制作与安装",null,"1、材质：碳钢\n2、管架形式：一般支架\n3、做法：除锈后樟丹防锈漆二道，再刷调和面漆两道","kg",null,"4989.500"]
[]
["200","030905002002","水灭火系统控制装置调试",null,"1、系统形式：自动喷水灭火系统\n2、说明：满足相关技术规范及消防验收要求","点",null,"13.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,"2-9","气体灭火系统",{"$nulls":4},""]
["201","ZB030101001006","泄压装置",null,"1、名称：泄压阀\n2、规格：QXYKX/J-0.2","个",null,"2.000"]
["202","030902009001","无管网气体灭火装置",null,"1、名称：柜式预制七氟丙烷灭火装置\n2、型号、规格：单瓶组装置,药剂充装量98kg/台","套",null,"1.000"]
[]
["203","030902009002","无管网气体灭火装置",null,"1、名称：柜式预制七氟丙烷灭火装置\n2、型号、规格：单瓶组装置,药剂充装量108.5kg/台","套",null,"4.000"]
[]
["204","030905004001","气体灭火系统装置调试",null,"1、系统形式：气体灭火系统\n2、说明：满足相关技术规范及消防验收要求","点",null,"5.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"3-1","送排风系统",{"$nulls":4},""]
["205","030702001001","碳钢通风管道",null,"1、材质、厚度：镀锌钢板0.5mm\n2、规格、形状：矩形 长边320mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接","m2",null,"93.670"]
{"$rows_empty":11}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["206","030702001002","碳钢通风管道",null,"1、材质、厚度：镀锌钢板 0.6mm\n2、规格、形状：矩形 长边450mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接","m2",null,"128.320"]
[]
[]
["207","030702001003","碳钢通风管道",null,"1、材质、厚度：镀锌钢板 0.75mm\n2、规格、形状：矩形 长边1000mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接","m2",null,"474.040"]
[]
[]
["208","030702001004","碳钢通风管道",null,"1、材质、厚度：镀锌钢板 1.0mm\n2、规格、形状：矩形 长边1500mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接","m2",null,"99.070"]
[]
[]
["209","030702001005","碳钢通风管道",null,"1、材质、厚度：镀锌钢板 1.2mm\n2、规格、形状：矩形 长边2000mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接","m2",null,"224.400"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["210","WB030701004001","通风机安装",null,"1、名称：低噪声离心风机箱\n2、编号 ：PPY-D-1-1\n3、规格：风量34500m3/h  风压680Pa 功率11KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"1.000"]
[]
["211","WB030701004002","通风机安装",null,"1、名称：低噪声离心风机箱\n2、编号 ：PY(油)-W-1\n3、规格：风量20000m3/h  风压713Pa 功率7.5KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"1.000"]
[]
["212","WB030701004003","通风机安装",null,"1、名称：低噪声离心风机箱\n2、编号：P(Q)-D-2-1、S(Q)-D-2-1\n3、规格：风量13500m3/h  风压410Pa 功率3KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"2.000"]
[]
["213","WB030701004004","通风机安装",null,"1、名称：低噪声离心风机箱\n2、编号：P-D-2-1、S-D-2-1\n3、规格：风量2800m3/h  风压450Pa 功率0.75KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"2.000"]
{"$rows_empty":10}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["214","WB030701004005","通风机安装",null,"1、名称：低噪声离心风机箱\n2、编号：P-D-2-2\n3、规格：风量1800m3/h  风压320Pa 功率0.55KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"1.000"]
[]
["215","WB030701004006","通风机安装",null,"1、名称：低噪声离心风机箱(防爆风机)\n2、编号：P(S)-4-1\n3、规格：风量6000m3/h  风压400Pa 功率1.1KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"1.000"]
[]
[]
["216","WB030701004007","通风机安装",null,"1、名称：管道风机\n2、编号：P-4-1\n3、规格：风量1200m3/h  风压250Pa 功率0.55KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"1.000"]
[]
["217","WB030701004008","通风机安装",null,"1、名称：轴流风机\n2、编号：SB-D-2-1\n3、规格：风量8000m3/h  风压520Pa 功率2.2KW\n4、说明：含检查接线，减震支吊架，详见招标图纸","台",null,"1.000"]
{"$rows_empty":8}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["218","WB030701004009","通风机安装",null,"1、名称：卫生间通风器\n2、规格：风量150m3/h   功率:50W/220V\n3、说明：自带止回阀、含检查接线以及设备风口软接","台",null,"34.000"]
[]
["219","WB030701004010","通风机安装",null,"1、名称：卫生间通风器\n2、规格：风量300m3/h   功率:50W/220V\n3、说明：自带止回阀、含检查接线以及设备风口软接","台",null,"27.000"]
[]
["220","WB030701004011","通风机安装",null,"1、名称：卫生间通风器\n2、规格：风量400m3/h   功率:50W/220V\n3、说明：自带止回阀、含检查接线以及设备风口软接","台",null,"2.000"]
[]
["221","030703001001","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：200*160","个",null,"3.000"]
["222","030703001002","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：320*200","个",null,"2.000"]
["223","030703001003","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：320*250","个",null,"1.000"]
["224","030703001004","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：400*250","个",null,"2.000"]
["225","030703001005","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：500*250","个",null,"1.000"]
["226","030703001006","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：630*250","个",null,"1.000"]
["227","030703001007","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：1250*400","个",null,"1.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["228","030703001008","碳钢阀门安装",null,"1、名称：电动70℃防火调节阀\n2、型号：500*250","个",null,"1.000"]
["229","030703001009","碳钢阀门安装",null,"1、名称：电动70℃防火调节阀\n2、型号：800*200","个",null,"1.000"]
["230","030703001010","碳钢阀门安装",null,"1、名称：电动70℃防火调节阀\n2、型号：1000*400","个",null,"2.000"]
["231","030703001011","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：200*160","个",null,"3.000"]
["232","030703001012","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：250*120","个",null,"24.000"]
["233","030703001013","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：250*160","个",null,"10.000"]
["234","030703001014","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：300*200","个",null,"6.000"]
["235","030703001015","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：320*200","个",null,"2.000"]
["236","030703001016","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：320*250","个",null,"1.000"]
["237","030703001017","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：400*160","个",null,"1.000"]
["238","030703001018","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：400*200","个",null,"7.000"]
["239","030703001019","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：400*250","个",null,"2.000"]
["240","030703001020","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：400*320","个",null,"1.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["241","030703001021","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：500*250","个",null,"2.000"]
["242","030703001022","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：500*320","个",null,"1.000"]
["243","030703001023","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：500*500","个",null,"1.000"]
["244","030703001024","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：630*160","个",null,"3.000"]
["245","030703001025","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：630*250","个",null,"2.000"]
["246","030703001026","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：800*200","个",null,"1.000"]
["247","030703001027","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：800*320","个",null,"1.000"]
["248","030703001028","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：800*630","个",null,"1.000"]
["249","030703001029","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：800*800","个",null,"1.000"]
["250","030703001030","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：1000*320","个",null,"2.000"]
["251","030703001031","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：1000*400","个",null,"1.000"]
["252","030703001032","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：1250*400","个",null,"2.000"]
["253","030703001033","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：1250*500","个",null,"20.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["254","030703001034","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：1600*400","个",null,"16.000"]
["255","030703001035","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：2000*630","个",null,"20.000"]
["256","030703001036","碳钢阀门安装",null,"1、名称：70℃防火调节阀\n2、型号：1250*1000","个",null,"2.000"]
["257","030703001037","碳钢阀门安装",null,"1、名称：电动风量调节阀\n2、型号：1250*500","个",null,"4.000"]
["258","030703001038","碳钢阀门安装",null,"1、名称：电动风量调节阀\n2、型号：1600*400","个",null,"4.000"]
["259","030703001039","碳钢阀门安装",null,"1、名称：电动风量调节阀\n2、型号：630*500","个",null,"1.000"]
["260","030703001040","碳钢阀门安装",null,"1、名称：电动风量调节阀\n2、型号：400*400","个",null,"1.000"]
["261","030703001041","碳钢阀门安装",null,"1、名称：电动风量调节阀\n2、型号：320*500","个",null,"2.000"]
["262","030703007001","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：400*300","个",null,"2.000"]
["263","030703007002","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：400*400","个",null,"1.000"]
["264","030703007003","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：500*160","个",null,"1.000"]
["265","030703007004","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：500*250","个",null,"1.000"]
["266","030703007005","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：500*500","个",null,"2.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["267","030703007006","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：630*200","个",null,"1.000"]
["268","030703007007","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：1000*250","个",null,"3.000"]
["269","030703007008","碳钢风口、散流器、百叶窗",null,"1、名称：对开多叶调节阀\n2、型号：1000*400","个",null,"1.000"]
["270","030703007009","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：300*150","个",null,"3.000"]
["271","030703007010","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：400*200","个",null,"2.000"]
["272","030703007011","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：400*300","个",null,"12.000"]
["273","030703007012","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：400*400","个",null,"1.000"]
["274","030703007013","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：500*500","个",null,"2.000"]
["275","030703007014","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：600*300","个",null,"1.000"]
["276","030703007015","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：630*160","个",null,"2.000"]
["277","030703007016","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：630*500","个",null,"1.000"]
["278","030703007017","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：800*500","个",null,"8.000"]
["279","030703007018","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：1000*250","个",null,"3.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["280","030703007019","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：1000*400","个",null,"1.000"]
["281","030703007020","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：2000*800","个",null,"1.000"]
["282","030703007021","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：200*160","个",null,"1.000"]
["283","030703007022","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：250*120","个",null,"24.000"]
["284","030703007023","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：320*250","个",null,"1.000"]
["285","030703007024","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：400*200","个",null,"1.000"]
["286","030703007025","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：400*400","个",null,"3.000"]
["287","030703007026","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：500*250","个",null,"1.000"]
["288","030703007027","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：630*320","个",null,"1.000"]
["289","030703007028","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：800*320","个",null,"1.000"]
["290","030703007029","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：1250*1250","个",null,"3.000"]
["291","030703007030","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶风口\n2、型号：1600*1400","个",null,"1.000"]
["292","030703020001","消声器安装",null,"1、名称：微缝板消声器\n2、规格：250*400*1000","个",null,"1.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["293","030703020002","消声器安装",null,"1、名称：微缝板消声器\n2、规格：630*250*1000","个",null,"1.000"]
["294","030703020003","消声器安装",null,"1、名称：微缝板消声器\n2、规格：1250*400*1000","个",null,"1.000"]
["295","030703020004","消声器安装",null,"1、名称：微缝板消声器\n2、规格：1250*1000*1500","个",null,"1.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"3-3","防排烟系统",{"$nulls":4},""]
["296","030702001010","碳钢通风管道",null,"1、材质、厚度：镀锌钢板 0.75mm\n2、规格、形状：矩形 长边450mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接\n5、说明：钢板外包覆不含石棉成分的纤维增强硅酸盐防火板","m2",null,"5.780"]
[]
[]
["297","030702001011","碳钢通风管道",null,"1、材质、厚度：镀锌钢板 1.0mm\n2、规格、形状：矩形 长边1000mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接\n5、说明：钢板外包覆不含石棉成分的纤维增强硅酸盐防火板","m2",null,"71.830"]
{"$rows_empty":7}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["298","030702001012","碳钢通风管道",null,"1、材质、厚度：镀锌钢板1.2mm\n2、规格、形状：矩形 长边1250mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接\n5、说明：钢板外包覆不含石棉成分的纤维增强硅酸盐防火板","m2",null,"581.150"]
[]
[]
["299","030702001013","碳钢通风管道",null,"1、材质、厚度：镀锌钢板1.2mm\n2、规格、形状：矩形 长边2000mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接\n5、说明：钢板外包覆不含石棉成分的纤维增强硅酸盐防火板","m2",null,"1445.320"]
[]
[]
["300","030702001014","碳钢通风管道",null,"1、材质、厚度：镀锌钢板1.5mm\n2、规格、形状：矩形 长边4000mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接\n5、说明：钢板外包覆不含石棉成分的纤维增强硅酸盐防火板","m2",null,"105.060"]
[]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["301","030702003001","不锈钢板通风管道",null,"1、材质、厚度：不锈钢板1.2mm\n2、规格、形状：矩形 长边1250mm以下\n3、管件、法兰等附件等设计要求：详见设计图纸，满足招标文件及相关技术规范要求\n4、接口形式：法兰连接\n5、说明：钢板外包覆不含石棉成分的纤维增强硅酸盐防火板","m2",null,"341.990"]
[]
[]
["302","WB030701004015","通风机安装",null,"1、名称：排烟轴流风机\n2、编号：PY-D-2-1\n3、规格：风量:15600m3/h,转速:1450rpm,功率:5.5kW\n4、说明：含检查接线，详见招标图纸","台",null,"1.000"]
[]
["303","WB030701004016","通风机安装",null,"1、名称：混流风机\n2、编号：JS-W-1a/1b、JS-W-2a/2b\n3、规格：风量:33500m3/h,转速:900rpm,功率:15kW\n4、说明：含检查接线，详见招标图纸","台",null,"4.000"]
[]
["304","WB030701004017","通风机安装",null,"1、名称：混流风机\n2、编号：JS-W-2c\n3、规格：风量:68000m3/h,转速:960rpm,功率:22kW\n4、说明：含检查接线，详见招标图纸","台",null,"1.000"]
[]
["305","030703001047","碳钢阀门安装",null,"1、名称：150度防火阀\n2、型号：1250*500","个",null,"1.000"]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["306","030703001048","碳钢阀门安装",null,"1、名称：280℃排烟防火调节阀\n2、型号：630*630","个",null,"1.000"]
["307","030703001049","碳钢阀门安装",null,"1、名称：280℃排烟防火调节阀\n2、型号：1250*1000","个",null,"1.000"]
["308","030703001050","碳钢阀门安装",null,"1、名称：280℃排烟防火调节阀\n2、型号：2500*500","个",null,"1.000"]
["309","030703001051","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：630*630","个",null,"1.000"]
["310","030703001052","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：800*630","个",null,"1.000"]
["311","030703001053","碳钢阀门安装",null,"1、名称：风管止回阀\n2、型号：1250*1000","个",null,"1.000"]
["312","030703001054","碳钢阀门安装",null,"1、名称：对开多叶调节阀\n2、型号：630*160","个",null,"3.000"]
["313","030703001055","碳钢阀门安装",null,"1、名称：对开多叶调节阀\n2、型号：1250*250","个",null,"13.000"]
["314","030703001056","碳钢阀门安装",null,"1、名称：对开多叶调节阀\n2、型号：1600*320","个",null,"1.000"]
["315","030703007043","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：400*400","个",null,"4.000"]
["316","030703007044","碳钢风口、散流器、百叶窗",null,"1、名称：单层百叶风口\n2、型号：1250*250","个",null,"12.000"]
["317","030703007045","碳钢风口、散流器、百叶窗",null,"1、名称：多叶正压送风口\n2、型号：1000×(630+250)\n3、说明：带手动开启装置","个",null,"18.000"]
[]
[]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["318","030703007046","碳钢风口、散流器、百叶窗",null,"1、名称：多叶正压送风口\n2、型号：800×(1600+250)\n3、说明：带手动开启装置","个",null,"11.000"]
["319","030703007047","碳钢风口、散流器、百叶窗",null,"1、名称：多叶正压送风口\n2、型号：800×(800+250)\n3、说明：带手动开启装置","个",null,"2.000"]
["320","030703020006","消声器安装",null,"1、名称：微缝板消声器\n2、规格：2500*500*2000","个",null,"1.000"]
["321","ZB030101001007","电动挡烟垂壁",null,"1、名称：固定挡烟垂壁\n2、材质：防火玻璃\n3、说明：详见招标图纸","m2",null,"114.640"]
["322","WB030904016005","压差控制器",null,"1、名称：压差控制器\n2、说明：详见招标图纸","台",null,"34.000"]
["323","030703021001","静压箱",null,"1、名称：消音静压箱\n2、规格：4500X600X1500\n3、说明：详见招标图纸","个",null,"1.000"]
["324","WB030215007001","油烟净化器",null,"1、名称：油烟净化器\n2、规格：风量:20000m3/h,功率:3064W，参考尺寸:1470x1977x1631,重量:705.6kg,除烟效率98%以上\n3、说明：详见招标图纸","台",null,"1.000"]
[]
["325","WB030508022001","环境检测设备",null,"1、名称：CO浓度监测装置\n2、技术参数：详见招标图纸","台",null,"3.000"]
["326","WB030508022002","活性炭除臭装置",null,"1、名称：活性炭除臭装置\n2、技术参数：详见招标图纸","台",null,"1.000"]
[null,null,"分部小计",{"$nulls":4},""]
[null,"3-5","其他工程",{"$nulls":4},""]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["327","WB030702001001","软接",null,"1、名称：高温防火软接\n2、材质：不燃抗菌保温风管\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","m2",null,"58.640"]
[]
["328","WB030701005001","设备支架制作安装",null,"1、名称：设备支吊架\n2、材质：型钢\n3、说明：除锈后刷铁红酚醛防锈漆，灰色磁化漆各两道\n4、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","kg",null,"690.000"]
[]
[]
["329","WB030701005002","风管支架制作安装",null,"1、名称：风管支吊架刷油\n2、说明：除锈后刷铁红酚醛防锈漆，灰色磁化漆各两道\n3、其他：未尽事宜详见图纸、招标文件、答疑、图集、政府相关文件及规范等其他资料","kg",null,"12000.000"]
[]
["330","031201003002","金属结构刷油",null,"1、名称：水管支架刷油\n2、涂刷遍数：除锈后铁红酚醛防锈漆，灰色磁化漆各两道\n3、具体详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","kg",null,"1500.000"]
{"$rows_empty":10}
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["331","031208002001","管道绝热",null,"1、名称：风管保温\n2、绝热材料品种：28mm厚难燃型发泡橡塑保温\n3、其他：具体详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m3",null,"58.800"]
[]
["332","031208002002","管道绝热",null,"1、名称：水管保温\n2、绝热材料品种：难燃型发泡橡塑保温\n3、部位：冷凝水管\n4、具体详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m3",null,"7.530"]
[]
[]
["333","031208002003","管道绝热",null,"1、名称：排油烟管道保温\n2、绝热材料品种：不小于50mm硅酸铝纤维棉\n3、具体详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m3",null,"17.090"]
[]
["334","031208002004","管道绝热",null,"1、名称：吊顶内排烟管保温\n2、绝热材料品种：50mm厚的容重不大于64kg/m3的带防火铝箔离心玻璃棉板\n3、其他：具体详见图纸、图集、答疑、招标文件、政府相关文件、规范等其他资料，满足验收要求","m3",null,"50.000"]
[]
[]
[null,null,"分部小计",{"$nulls":4},""]
["335","031301017001","脚手架搭拆",null,"1、名称：脚手架搭拆","项",null,"1.000"]
[]
[]
[]
["E.1 分部分项工程量清单计价表"]
["工程名称：C地块7号楼-安装",{"$nulls":5},"标段："]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量"]
[]
[]
["336","031301012001","工程系统检测、检验",null,"1、名称：通风空调工程系统检测调试","项",null,"1.000"]
["337","WB031301001001","建筑物超高增加费",null,"1、名称：建筑物超高增加费","项",null,"1.000"]